NIDAN-AI

User Guide  ·  v1.0

| DISCLAIMER | NIDAN-AI is not a substitute for professional medical advice. Always consult a qualified doctor for diagnosis and treatment. |
| --- | --- |

# What is NIDAN-AI?

NIDAN-AI is a smart fever assessment tool that helps you understand how serious your symptoms might be — before deciding whether to visit a hospital. It combines a short questionnaire with sensor readings to give you a risk level and a probable infection pattern.

It does not diagnose diseases. It helps you decide your next step.

# Risk Levels

| Level | Indicator | What it means | What to do |
| --- | --- | --- | --- |
| Low | Green | Mild symptoms, low concern | Rest, hydrate, monitor for 24h |
| Moderate | Yellow | Some concerning signs | See a doctor within 24–48 hours |
| High | Orange | Multiple warning signs | See a doctor today |
| Critical | Red | Severe symptoms | Go to emergency immediately |

# Infection Patterns

These are not diagnoses — they describe what your symptom combination looks like:

| Pattern | What it suggests |
| --- | --- |
| Viral-like | Fever pattern typical of a viral infection (e.g. flu, dengue, chickenpox) |
| Bacterial-like | Signs that may indicate a bacterial infection (e.g. UTI, sepsis pattern) |
| Respiratory-risk | Symptoms involving the lungs or breathing pathway |
| Heat-stress risk | High heat exposure, vector-borne, or tropical disease pattern |

# How to Use the App

## Step 1 — Sensor reading

Place your fingertip firmly on the device sensor when prompted. Hold still for 10–15 seconds. The device automatically reads:

- Body temperature

- Heart rate (bpm)

- Blood oxygen level (SpO2 %)

## Step 2 — Answer the questionnaire

| Question | Why it matters |
| --- | --- |
| How many days have you had a fever? | Duration changes the risk profile significantly |
| Do you have a headache? | Common indicator across many infections |
| Do you have a cough? | Indicates respiratory involvement |
| Are you vomiting? | Signals severity and dehydration risk |
| Do you have muscle aches? | Strong indicator in viral and dengue cases |
| Do you have a rash? | Helps identify viral vs other patterns |
| Are you having chills / rigors? | Severity and systemic response indicator |
| Are you sweating heavily? | Fever response and severity indicator |
| Have you travelled recently? | Increases exposure to regional diseases |
| Your age | Risk thresholds differ by age group |

## Step 3 — Review your results

The app displays:

- Your risk level with a confidence percentage

- Your probable infection pattern

- The top 3 factors that most influenced the result

- A recommended next step

# Understanding Confidence Scores

| Score range | What it means |
| --- | --- |
| Above 70% | Strong signal — result is reliable |
| 50–70% | Moderate confidence — take the result seriously but note some uncertainty |
| Below 50% | Mixed signals — the model is unsure. Err on the side of caution. |

# Sample Scenarios

## Scenario A — Mild case

| Readings | Temp 37.8°C · HR 82 · SpO2 98% |
| --- | --- |
| Symptoms | Headache, mild cough, 2 days |
| Result | Low risk / Viral-like |
| Action | Rest at home, drink fluids, monitor for 24 hours |

## Scenario B — Moderate case

| Readings | Temp 38.9°C · HR 105 · SpO2 96% |
| --- | --- |
| Symptoms | Headache, muscle aches, rash, 4 days, recent travel |
| Result | Moderate risk / Viral-like |
| Action | See a doctor today — possible dengue-like pattern |

## Scenario C — High risk

| Readings | Temp 39.8°C · HR 130 · SpO2 93% |
| --- | --- |
| Symptoms | Vomiting, rigors, sweating, 5 days |
| Result | High risk / Bacterial-like |
| Action | Go to a clinic or hospital urgently |

## Scenario D — Critical

| Readings | Temp 40.3°C · HR 148 · SpO2 88% |
| --- | --- |
| Symptoms | Multiple severe symptoms, elderly patient |
| Result | Critical / Respiratory-risk |
| Action | Emergency care immediately — do not wait |

# Important Warnings

| CRITICAL | If you receive a Critical result, go to emergency immediately. Do not re-test and do not wait. |
| --- | --- |

- A Low result does not mean you are definitely fine — monitor and re-assess if symptoms worsen

- Children under 5 and adults over 65 should see a doctor at Moderate or above

- If you are pregnant, immunocompromised, or have diabetes / heart disease — treat High as Critical

- Re-take the assessment if your condition changes significantly

# FAQs

### Can I use this without the hardware sensors?

Yes. You can enter temperature, heart rate, and SpO2 manually if you have a thermometer and a pulse oximeter. The app accepts manual entry for all sensor fields.

### How accurate is it?

The model was trained on ~11,000 clinical fever cases and achieves above 80% accuracy on test data for risk classification. It is reliable as a screening tool — not as a clinical diagnostic instrument.

### Does the app store my data?

No data is stored or transmitted beyond your device during a session.

### What if my SpO2 is hard to read?

Keep your finger flat and still, avoid bright light on the sensor, and ensure your hands are warm. If the reading consistently fails, enter 98 as a neutral default.

### The result says High but I feel fine — what do I do?

The model detects physiological signals that may precede feeling severely unwell. Take it seriously and see a doctor. It is better to be checked and found well than to miss an early warning.